## Annual inc SFW SO EDM return
|  | Annual (including Shellfish Water triggers) Storm Overflow EDM Return | [5 empty] | Version 22/12/22
Water Company: | Hafren Dyfrdwy | Year reported below: |  |  | 2022 | Date return submitted to NRW:
General site information (columns A-M) must be completed for each permit | [12 empty] | Annual EDM data. All columns N-Y must be completed for each permit with (or due to have) a Shellfish Water trigger. If no Shellfish Water trigger, you do not need to complete columns N, S, T, U - enter "N/A".
NRW permit reference | Permitted site name | No. of "effluents and discharge points" / Activity Reference | Sample point reference | EDM effective date | EDM surrender date | Water company's asset ID | Water company's sewerage catchment | Storm discharge asset type | NRW's Environment Team | Receiving WFD waterbody ID (where applicable) | Receiving WFD waterbody name (where applicable) | Outlet discharge NGR | Name of shellfish water | No. of block counted spills - annual (no.) Det: 3355 | No. of significant block counted spills - annual (no.) Det: 1787 | Duration of all spills - annual (hrs) Det: 3105 | Duration of significant spills - annual (hrs) Det: 1788 | Shellfish water trigger limit (no.) | Has shellfish water trigger been exceeded? (yes/no) | Date shellfish water trigger exceeded Det: 1784 | Percentage time EDM operational - annual (%) Det: 3103 | Primary reason if % time operational <90% - annual Det: 1780 | Date range/s data unavailable | Additional comments | HD's site name on 2021 return | HD's permit number on 2021 return | HD's activity reference on 2021 return
S/01/04428/O | Newtown CSOs | A1 Discharge Point from Severn Street 13/14 | 67110 | TBC |  | 15784-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 11071 91584 | N/A | 7 |  | 7.6886 |  | N/A | N/A | N/A | 100% |  |  |  | NEWTOWN - SEVERN STREET 13/14 (CSO) | S/01/04428/O-1 | Single Discharge
S/01/04428/O | Newtown CSOs | A2 Discharge Point from Shortbridge street 26 (CSO) | TBC | TBC |  | 15789-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 11071 91584 | N/A | 13 |  | 66.8419 |  | N/A | N/A | N/A | 89.62% | Sensor failure / issue | Resolved - March |  | NEWTOWN - SHORTBRIDGE STREET 26 (CSO) | S/01/04428/O-2 | Single Discharge
S/01/04428/O | Newtown CSOs | A3 Discharge Point from Shortbridge street (CSO) | TBC | TBC |  | 15790-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 11071 91584 | N/A | 11 |  | 18.9475 |  | N/A | N/A | N/A | 99.91% |  |  |  | NEWTOWN - SHORTBRIDGE STREET (CSO) | S/01/04428/O-3 | Single Discharge
S/01/05871/O | Newtown - Dysart Terrace (CSO) |  | 66840 | TBC |  | 15788-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 11568 91914 | N/A | 25 |  | 38.4494 |  | N/A | N/A | N/A | 100% |  |  |  | NEWTOWN - DYSART TERRACE (CSO) | S/01/05871/O | Single Discharge
S/01/05872/O | Newtown - Ponthafren Longbridge (CSO) |  | TBC | TBC |  | 15786-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 10733 91848 | N/A | 49 |  | 114.5247 |  | N/A | N/A | N/A | 100% |  |  |  | NEWTOWN - PONTHAFREN LONGBRIDGE (CSO) | S/01/05872/O | Single Discharge
S/01/05873/O | Newtown - Dolafon Terrace CSO |  | TBC | TBC |  | 15785-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 11453 91667 | N/A | 0 |  | 0 |  | N/A | N/A | N/A | 83.15% | Sensor failure / issue | Resolved - August |  | NEWTOWN - DOLAFON TERRACE (CSO) | S/01/05873/O | Single Discharge
S/01/07315/O | LLANIDLOES - SHORTBRIDGE STREET, LONGBRIDGE SOUTH & LONGBRIDGE NORTH CSOs | Point of discharge 1 | TBC | TBC |  | 15804-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SN 95271 84575 | N/A | 10 |  | 7.4947 |  | N/A | N/A | N/A | 97.65% |  |  |  | LLANIDLOES - SHORTBRIDGE STREET (CSO) | S/01/07315/O-2 | Single Discharge
S/01/07315/O | LLANIDLOES - SHORTBRIDGE STREET, LONGBRIDGE SOUTH & LONGBRIDGE NORTH CSOs | Point of discharge 2 | TBC | TBC |  | 15802-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SN 95271 84575 | N/A | 36 |  | 12.9481 |  | N/A | N/A | N/A | 100% |  |  |  | LLANIDLOES - LONGBRIDGE SOUTH (CSO) | S/01/07315/O-1 | Single Discharge
S/01/07315/O | LLANIDLOES - SHORTBRIDGE STREET, LONGBRIDGE SOUTH & LONGBRIDGE NORTH CSOs | Point of discharge 3 | TBC | TBC |  | 13890-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SN 95271 84575 | N/A | 3 |  | 1.9606 |  | N/A | N/A | N/A | 100% |  |  |  | LLANIDLOES - LONGBRIDGE NORTH (CSO) | S/01/07315/O-3 | Single Discharge
S/01/07393/O | Welshpool - Salop Road CSO | A1 Discharge Point from Salop Road CSO | 33060100 | TBC |  | 15782-SO1 | WELSHPOOL | CSO on sewer network | North Powys Environment Team | GB109054049560 | Lledan Bk - source to conf R Severn | SJ 23019 07647 | N/A | 14 |  | 8.3714 |  | N/A | N/A | N/A | 100% |  |  |  | WELSHPOOL - SALOP ROAD (CSO) | S/01/07393/O-2 | Single Discharge
S/01/07393/O | Welshpool - Salop Road CSO | A2 Discharge point from Salop Road/Erw Wen CSO | TBC | TBC |  | 15781-SO1 | WELSHPOOL | CSO on sewer network | North Powys Environment Team | GB109054049560 | Lledan Bk - source to conf R Severn | SJ 23019 07647 | N/A | 10 |  | 3.2781 |  | N/A | N/A | N/A | 99.95% |  |  |  | WELSHPOOL - SALOP ROAD/ERWEN (CSO) | S/01/07393/O | Single Discharge
S/01/07875/R | Kerry Wastewater Treatment Works |  | 34180380 | TBC |  | 10755-ST1 | NEWTOWN RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054044850 | The Mule - source to conf R Severn | SO 15002 90363 | N/A | 14 |  | 26.1058 |  | N/A | N/A | N/A | 97.21% |  |  |  | KERRY (STW) | S/01/07875/R | A2
S/01/07909/O | Llanfair Caereinion - Railway Stn, Penybontfawr, Carno, Llanfyllin - Ffordd Y Cain CSOs | Point of discharge 1 | 31468360 | TBC |  | 15795-SO1 | WELSHPOOL RURAL | CSO on sewer network | North Powys Environment Team | GB109054049960 | Afon Tanat - conf Hirnant to conf Afon Rhaeadr | SJ 14403 19469 | N/A | 27 |  | 31.1544 |  | N/A | N/A | N/A | 90.13% |  |  |  | LLANFAIR CAEREINION - RAILWAY STN (CSO) | S/01/07909/O-4 | Single Discharge
S/01/07909/O | Llanfair Caereinion - Railway Stn, Penybontfawr, Carno, Llanfyllin - Ffordd Y Cain CSOs | Point of discharge 2 | 31796390 | TBC |  | 19992-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049960 | Afon Tanat - conf Hirnant to conf Afon Rhaeadr | SJ 14403 19469 | N/A | 4 |  | 3.4664 |  | N/A | N/A | N/A | 90.6% |  |  |  | PENYBONTFAWR (CSO) | S/01/07909/O-3 | Single Discharge
S/01/07909/O | Llanfair Caereinion - Railway Stn, Penybontfawr, Carno, Llanfyllin - Ffordd Y Cain CSOs | Point of discharge 3 | 34944260 | TBC |  | 15799-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049960 | Afon Tanat - conf Hirnant to conf Afon Rhaeadr | SJ 14403 19469 | N/A | 21 |  | 17.0914 |  | N/A | N/A | N/A | 71.74% | Sensor failure / issue | Resolved - September |  | CARNO (CSO) | S/01/07909/O-1 | Single Discharge
S/01/07909/O | Llanfair Caereinion - Railway Stn, Penybontfawr, Carno, Llanfyllin - Ffordd Y Cain CSOs | Point of discharge 4 | 30886380 | TBC |  | 15796-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049960 | Afon Tanat - conf Hirnant to conf Afon Rhaeadr | SJ 14403 19469 | N/A | 77 |  | 302.6419 |  | N/A | N/A | N/A | 100% |  |  |  | LLANFYLLIN - FFORDD Y CAIN (CSO) | S/01/07909/O-2 | Single Discharge
S/01/21276/O | Llanfair Caereinion - Bridge St (CSO) |  | 31796395 | TBC |  | 15792-SO1 | WELSHPOOL RURAL | CSO on sewer network | North Powys Environment Team | GB109054049851 | Afon Banwy | SJ 10446 06627 | N/A | 18 |  | 69.6547 |  | N/A | N/A | N/A | 99.97% |  |  |  | LLANFAIR CAEREINION - BRIDGE ST (CSO) | S/01/21276/O | Single Discharge
S/01/21301/O | Llanfyllin - Y Dolydd CSO |  | 31556190 | TBC |  | 15794-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049820 | Afon Cain - conf Nant Fyllon to conf The Brogan | SJ 15230 18717 | N/A | 6 |  | 62.6833 |  | N/A | N/A | N/A | 95.18% |  |  |  | LLANFYLLIN - Y DOLYDD (CSO) | S/01/21301/O | Single Discharge
S/01/21474/O | LLANFAIR CAEREINION - WATERGATE ST (CSO) |  | 31907330 | TBC |  | 15797-SO1 | WELSHPOOL RURAL | CSO on sewer network | North Powys Environment Team | GB109054049851 | Afon Banwy | SJ 10155 06043 | N/A | 0 |  | 0 |  | N/A | N/A | N/A | 100% |  |  |  | LLANFAIR CAEREINION - WATERGATE ST (CSO) | S/01/21474/O | Single Discharge
S/01/50116/O | Llanidloes – Berth Llwyd Farm (CSO) |  | 73170 | TBC |  | 15806-SO1 | NEWTOWN RURAL | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SN 96735 85503 | N/A | 59 |  | 241.0278 |  | N/A | N/A | N/A | 100% |  |  |  | LLANIDLOES - BERTH-LWYD FARM (CSO) | S/01/50116/O | Single Discharge
S/01/50128/O | Newtown - Pool Road (CSO) |  | 66980 | TBC |  | 15787-SO1 | NEWTOWN | CSO on sewer network | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 11424 91571 | N/A | 18 |  | 4.4747 |  | N/A | N/A | N/A | 99.74% |  |  |  | NEWTOWN - POOL ROAD (CSO) | S/01/50128/O | Single Discharge
S/01/50204/O | Welshpool - Haven Court (CSO) |  | 33107920 | TBC |  | 15783-SO1 | WELSHPOOL | CSO on sewer network | North Powys Environment Team | GB109054049700 | Severn - conf R Camlad to conf Bele Bk | SJ 22796 07212 | N/A | 7 |  | 3.5958 |  | N/A | N/A | N/A | 95.54% |  |  |  | WELSHPOOL - HAVEN COURT (CSO) | S/01/50204/O | Single Discharge
S/01/55049/O | Llansantffraid (SPS) |  | 30655195 | TBC |  | 15148-SO1 | WELSHPOOL RURAL | Storm discharge at pumping station | North Powys Environment Team | GB109054049852 | Afon Vyrnwy DS of Banwy confluence | SJ 22607 20289 | N/A | 20 |  | 97.315 |  | N/A | N/A | N/A | 100% |  |  |  | LLANSANTFFRAID (SPS) | S/01/55049/O | Single Discharge
S/01/55231/R | Meifod Wastewater Treatment Works |  | 30658415 | TBC |  | 10654 | WELSHPOOL RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049852 | Afon Vyrnwy DS of Banwy confluence | SJ 15964 12951 | N/A | 0 |  | 0 |  | N/A | N/A | N/A | 96.44% |  |  |  | MEIFOD (STW) | S/01/55231/R | A2
S/01/55298/R | Caersws Wastewater Treatment Works |  | 70225 | TBC |  | 10594 | NEWTOWN RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 03851 92423 | N/A | 136 |  | 466.8308 |  | N/A | N/A | N/A | 100% |  |  |  | CAERSWS (STW) | S/01/55298/R | A2
S/01/55430/O | Caersws TPS |  | 70310 | TBC |  | 10595-SO1 | NEWTOWN RURAL | Storm discharge at pumping station | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 03429 92122 | N/A | 7 |  | 22.5417 |  | N/A | N/A | N/A | 93.66% |  |  |  | CAERSWS (TPS) | S/01/55430/O | Single Discharge
S/01/55519/R | Llanwddyn Wastewater Treatment Works |  | 30663805 | TBC |  | 10764-ST1-EFF1-0002-0001 | NEWTOWN RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054049880 | Vrynwy - Lake Vrynwy to conf Afon Cownwy | SJ 02201 19016 | N/A | 43 |  | 654.4411 |  | N/A | N/A | N/A | 84.82% | Sensor failure / issue | Resolved - Feburary |  | LLANWYDDYN (STW) | S/01/55519/R | A2
S/01/55544/R | Guilsfield Wastewater Treatment Works |  | 32809925 | TBC |  | 10639 | WELSHPOOL RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049670 | Guilsfield Bk - source to conf Nant Rhyd-y-Moch | SJ 22530 12190 | N/A | 27 |  | 19.2642 |  | N/A | N/A | N/A | 94.75% |  |  |  | GUILSFIELD (STW) | S/01/55544/R | A2
S/01/55673/O | Pen-Y-Bont-Fawr Wastewater Treatment Works |  | 31321110 | TBC |  | 15798-SO1 | NEWTOWN RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049960 | Afon Tanat - conf Hirnant to conf Afon Rhaeadr | SJ 09369 24579 | N/A | 40 |  | 221.2764 |  | N/A | N/A | N/A | 99.91% |  |  |  | PEN-Y-BONT-FAWR (STW) | S/01/55673/O | A2
S/01/55776/R | MONTGOMERY Waste Water Treatment Works |  | 33258705 | TBC |  | 10663-ST1-EFF1-0002-0001 | WELSHPOOL RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054049380 | Camlad - conf Caebitra Bk to conf R Severn | SO 22122 97473 | N/A | 90 |  | 1327.145 |  | N/A | N/A | N/A | 99.81% |  |  |  | MONTGOMERY (STW) | S/01/55776/R | A2
S/01/55788/R | Llanidloes Wastewater Treatment Works |  | 72773 | TBC |  | 10770-ST1-EFF1-0002-0001 | NEWTOWN RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SN 98192 85452 | N/A | 55 |  | 508.14 |  | N/A | N/A | N/A | 71.12% | Sensor failure / issue | Resolved - May |  | LLANIDLOES (STW) | S/01/55788/R | A2
S/01/55843/R | Caerhowel Wastewater Treatment Works |  | 64403 | TBC |  | 10593 | WELSHPOOL RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049310 | Severn - conf Afon Dulas to conf R Camlad | SO 20683 98237 | N/A | 16 |  | 2.3919 |  | N/A | N/A | N/A | 95.98% | Sensor failure / issue | Resolved - July |  | CAERHOWEL (STW) | S/01/55843/R | A2
S/01/55888/R | Llanfyllin Wastewater Treatment Works |  | 31468285 | TBC |  | 10762-ST1-EFF1-0002-0001 | NEWTOWN RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054049820 | Afon Cain - conf Nant Fyllon to conf The Brogan | SJ 15323 18831 | N/A | 77 |  | 1153.83 |  | N/A | N/A | N/A | 100% |  |  |  | LLANFYLLIN (STW) | S/01/55888/R | A2
S/01/55895/R | Trewern Wastewater Treatment Works |  | 32967185 | TBC |  | 10701-ST1-EFF1-0003-0001 | WELSHPOOL RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054049660 | Pwll Trewern - source to conf R Severn | SJ 26643 11618 | N/A | 141 |  | 3067.9153 |  | N/A | N/A | N/A | 100% |  |  |  | TREWERN (STW) | S/01/55895/R | A2
S/01/55969/R | Welshpool Sewage Treatment Works | A2 Settled storm sewage | 62263 | TBC |  | 10709-ST1-EFF1-0004-0001 | WELSHPOOL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049700 | Severn - conf R Camlad to conf Bele Bk | SJ 23519 07259 | N/A | 60 |  | 84.2356 |  | N/A | N/A | N/A | 95.26% |  |  |  | WELSHPOOL (STW) | S/01/55969/R | A2
S/01/55969/R | Welshpool Sewage Treatment Works | A3 Discharge of storm sewage | 62266 | TBC |  | 10709-ST1 | WELSHPOOL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049700 | Severn - conf R Camlad to conf Bele Bk | SJ 23519 07259 | N/A | 23 |  | 124.4806 |  | N/A | N/A | N/A | 99.73% |  |  |  | WELSHPOOL (STW) | S/01/55969/R | A3
S/01/56022/R | Berriew Wastewater Treatment Works |  | 33668225 | TBC |  | 10583 | WELSHPOOL RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049410 | Afon Rhiw (conf N and S arm) to conf R Severn | SJ 19080 00506 | N/A | 4 |  | 2.7233 |  | N/A | N/A | N/A | 76.65% | Sensor failure / issue | N/A - Ongoing investigation |  | BERRIEW (STW) | S/01/56022/R | A2
S/01/56023/R | Llansilin Wastewater Treatment Works |  | 30946180 | TBC |  | 10766 | GLYNDWR RURAL TANAT VALLEY | Inlet CSO at WwTW | North Powys Environment Team | GB109054055060 | Afon Cynllaith - source to conf Afon Tanat | SJ 21468 27941 | N/A | 7 |  | 16.2844 |  | N/A | N/A | N/A | 99.93% |  |  |  | LLANSILIN (STW) | S/01/56023/R | A2
S/01/56183/R | Llanfair Caereinion Waste Water Treatment Works |  | 31796365 | TBC |  | 10768 | WELSHPOOL RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049851 | Afon Banwy | SJ 10790 06955 | N/A | 24 |  | 26.3219 |  | N/A | N/A | N/A | 100% |  |  |  | LLANFAIR CAEREINION (STW) | S/01/56183/R | A2
S/01/56190/R | Bettws Cedewain Wastewater Treatment Works |  | 34372825 | TBC |  | 10584 | WELSHPOOL RURAL | Inlet CSO at WwTW | North Powys Environment Team | GB109054049330 | Bechan Bk - source to conf Highgate Bk | SO 12519 96063 | N/A | 11 |  | 113.0431 |  | N/A | N/A | N/A | 74.09% | Sensor failure / issue | Resolved - September |  | BETTWS CEDEWAIN (STW) | S/01/56190/R | A2
S/01/56221/R | Pentrefelin Waste Water Treatment Works |  | 31110262 | TBC |  | 10551 | GLYNDWR RURAL TANAT VALLEY | Inlet CSO at WwTW | North Powys Environment Team | GB109054050050 | Afon Tanat - conf Afon Rhaeadr to conf Afon Vyrnwy | SJ 15880 24541 | N/A | 66 |  | 240.3605 |  | N/A | N/A | N/A | 99.95% |  |  |  | PENTREFELIN (STW) | S/01/56221/R | A2
S/01/56235/O | CSO at Llanrhaeadr Waste Water Treament Works |  | 31232090 | TBC |  | 10765 | GLYNDWR RURAL TANAT VALLEY | Inlet CSO at WwTW | North Powys Environment Team | GB109054055040 | Afon Rhaeadr - source to conf Afon Tanat | SJ 12807 25592 | N/A | 9 |  | 50.1461 |  | N/A | N/A | N/A | 98.17% |  |  |  | LLANRHAEADR (STW) | S/01/56235/O | A2
S/09/08931/R | SPS at Knighton Waste Water Treatment | A1 Settled Storm Overflow | 13628048 | TBC |  | 10950-ST1 | KNIGHTON | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054044960 | Teme - source to conf Ffwdwen Bk to conf R Clun | SO 30061 72380 | N/A | 71 |  | 820.1567 |  | N/A | N/A | N/A | 99.37% |  |  |  | KNIGHTON (STW) | S/09/08931/R | A3
S/09/08931/R | SPS at Knighton Waste Water Treatment | A2 Storm Overflow | 13628040 | TBC |  | 10950-ST1 | KNIGHTON | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054044960 | Teme - source to conf Ffwdwen Bk to conf R Clun | SO 30061 72380 | N/A | 43 |  | 260.6706 |  | N/A | N/A | N/A | 79.72% | Sensor failure / issue | Resolved - September |  | KNIGHTON (STW) | S/09/08931/R | A2
S/09/55260/O | Knighton - Church Road / Station Road (CSO) |  | 21509040 | TBC |  | 15809-SO1 | KNIGHTON | CSO on sewer network | North Powys Environment Team | GB109054044940 | Wylcwm Bk - source to conf R Teme | SO 28877 72339 | N/A | 7 |  | 0.65528 |  | N/A | N/A | N/A | 49.3% | Sensor failure / issue | Resolved - July |  | KNIGHTON - CHURCH RD/STATION RD (CSO) | S/09/55260/O | Single Discharge
S/09/55261/O | Knighton - Wylcwm Street / Station Road (CSO) |  | 21509160 | TBC |  | 15810-SO1 | KNIGHTON | CSO on sewer network | North Powys Environment Team | GB109054044940 | Wylcwm Bk - source to conf R Teme | SO 28740 72290 | N/A | 0 |  | 0 |  | N/A | N/A | N/A | 73.75% | Telemetry or data archiving failure / issue | Resolved - December |  | KNIGHTON - WYLCWM ST/STATION RD (CSO) | S/09/55261/O | Single Discharge
TSC3584 | Abertridwr Sewage PS |  | TBC | TBC |  | 15800-SO1 | NEWTOWN RURAL | Storm discharge at pumping station | North Powys Environment Team | GB109054049880 | Vrynwy - Lake Vrynwy to conf Afon Cownwy | SJ 03186 18947 | N/A | 15 |  | 305.275 |  | N/A | N/A | N/A | 15.9% | Sensor failure / issue | Resolved - December |  | Abertridwr PS | TSC3584 | Single Discharge
S/09/08917/O | Pontfaen Estate Emergency Overflow |  | TBC | N/A - variation application to be submitted |  | 15808-SO1 | KNIGHTON | CSO on sewer network | North Powys Environment Team | GB109054044960 | Teme - source to conf Ffwdwen Bk to conf R Clun | SO 29460 72350 | N/A | 1 |  | 3.5833 |  | N/A | N/A | N/A | 72.69% | Sensor failure / issue | Resolved - July |  | KNIGHTON - LUDLOW RD (CSO)
WQD007641 | TREGYNON STW |  | 34373980 | N/A - variation application to be submitted |  | 10700 | WELSHPOOL RURAL | Discharge from Storm tank at WwTW | North Powys Environment Team | GB109054049330 | Bechan Bk - source to conf Highgate Bk | SO 10050 98370 | N/A | 0 |  | 0 |  | N/A | N/A | N/A | 66.46% | Sensor failure / issue | Resolved - December |  | TREGYNON (STW) | WQD007641 | A2

## Drop downs (hidden)
Drop down options
Storm discharge asset type | Y/N | Reasons for <90%
Same as EA
CSO on sewer network | Yes | Access – unable to retrieve data from non-telemetry data logger | Yes | (NB: not to be used for delayed access to fix existing fault)
Storm discharge at pumping station | No | Capital / maintenance works affected EDM operation | Yes
Inlet CSO at WwTW |  | Comms failure / issue | Yes
Discharge from Storm tank at WwTW |  | Installation set-up / design issue | Yes
Other storm discharge asset type (detailed comment required) |  | No longer operational as an overflow – permit revoked or to be revoked | Yes
|  | Power failure / issue | Yes
|  | Sensor failure / issue | No - additional
|  | Telemetry or data archiving failure / issue | Yes
|  | Other – you must give explanation in "additional comments" box | Yes
Yes
No - additional
No category for “unable to determine” or “under investigation”. Reporting period is Jan – Dec 2021. Return due in February 2022. Expect investigations into low EDM operability provided to have been complete by the time of submission.